### WINERY ENERGY SAVER TOOLKIT – SUPPLIER CHECKLIST

### LIGHTING

### Supplier Checklist

The following checklist provides guidance on which information to collect from within the winery and from the equipment supplier, in order to assess the winery’s lighting systems for potential improvements in energy efficiency.

Important to note:

- Some of the information suggested below may be difficult or impractical for SME wineries to collect. We do not expect you to be an expert in lighting – instead, the intention of this checklist is to give you a snapshot of what may be required to properly assess the opportunity, and to then have an informed discussion with the supplier to explore what may be possible.

- This checklist can be given directly to the supplier to assist them with providing the winery with an appropriate energy efficiency solution.

- An editable (Microsoft Word) and print-version of this checklist is available via the WEST Online Portal, accessible via www.winesa.asn.au.

### Other tools

To further assist with evaluating opportunities to improve Lighting energy efficiency, the Winery Energy Saver Toolkit provides the following tools (available via the Online Portal, www.winesa.asn.au):

- Energy efficiency opportunities modelling tool, which can be used to test potential savings resulting from key energy efficiency improvements outlined in the Winery Energy Saver Toolkit

- Energy Resource Use Data tool, which can be used by businesses to collect and analyse their own baseline electricity, gas and fuel consumption data.

| DATA COLLECTION ITEM | COMPLETED? (TICK BOX) | NOTES |
| --- | --- | --- |
| 1. Compile a lighting inventory Compile a list of the following lamps, luminaires, and controls: |  |  |
| Incandescent |  |  |
| Compact fluorescent |  |  |
| Dichroic halogen |  |  |
| LED |  |  |
| T12 fluorescent |  |  |
| T8 fluorescent |  |  |
| T5 fluorescent |  |  |
| Linear LED |  |  |
| Mercury vapour |  |  |
| Metal halide |  |  |
| High pressure sodium |  |  |
| Incandescent Exit signs |  |  |
| Fluorescent Exit signs |  |  |
| LED Exit signs |  |  |
| Other: |  |  |
| Choose an approach to estimate time in use: |  |  |
| Use existing lighting timer settings |  |  |
| Examine logs |  |  |
| Consult staff |  |  |
| 2. Compose a map of your lights Specifying the following characteristics of each light: |  |  |
| Type |  |  |
| Power rating (kW) |  |  |
| Time in use (h/y) |  |  |
| Location |  |  |
| Illumination in spaces: use a calibrated light meter |  |  |
| 3. Determine the business parameters of the lighting system Quantify or qualify the following values: |  |  |
| Energy price(s) ($/kWh; $/l) |  |  |
| Capital budget ($) |  |  |
| Targets for running costs ($/y) |  |  |
| Required level of redundancy in the system |  |  |
| Acceptable payback period or Internal Rate of Return (IRR) |  |  |
| Acceptable level of risk for new technologies |  |  |
| Equipment constraints, such as: specifications for electrical wiring; compatibility with existing infrastructure or floor space; and adaptability to future upgrades |  |  |
| Scope of energy efficiency opportunities to consider: if the existing equipment need to be replaced, then calculate the payback period (y) based on the extra (rather than total) costs ($) (if any) of the efficient equipment |  |  |
| 4. Determine the lighting requirements Quantify or qualify the following values: |  |  |
| Financial: lifetime (h), efficacy (lm/W) |  |  |
| Physical environment: surrounding, users, glare, ambient temperature (°C), fire safety, time of day |  |  |
| Ecological: disposal, emissions (kg), embodied energy (J) |  |  |
| Operational: colour rendering, colour preference (°C), illumination (lx), spectrum |  |  |
| Purpose: ambient, task, accent, decorative |  |  |
| 5. Account for non-energy benefits Quantify or qualify the following values: |  |  |
| Employees: higher productivity, better mood, lower absenteeism, fewer errors |  |  |
| Higher safety |  |  |
| Improved colour rendering |  |  |
| Improved aesthetics / ambience |  |  |
| Smaller cooling load (kW) for the HVAC and refrigerator systems |  |  |
| 6. Manage the commissioning process Once the space is occupied, adjust the following features of the system to efficiently meet actual use patterns: |  |  |
| Switching times |  |  |
| Time delays |  |  |
| Sensor placement |  |  |
| Zoning |  |  |
| 7. Confirm lighting system performance Check the following conditions: |  |  |
| Light quality and quantity (lx) is meets the requirements of AS1680.1: use a calibrated light meter |  |  |
| Daylight does not cause discomfort or make tasks difficult |  |  |
| 8. Select a service provider Select a lighting service provider that can provide the combination of services that you seek: |  |  |
| Measurement and analysis of the lighting requirements |  |  |
| Reporting on equipment and process performance |  |  |
| Optimisation of the lighting system, including: reduction in lighting requirements; and optimisation of the control system and illumination levels (lx) |  |  |
| Supply, service, and installation of lighting components (e.g. skylights, lamps, ballasts, and controls) for optimal energy efficiency (%) |  |  |
| Guarantee of minimum efficiency (%) of the proposed system |  |  |
| Guarantee of maximum running costs ($/y) of the proposed system |  |  |
| Technical support and after sales service |  |  |
| Emergency service |  |  |
| Work done by lighting professionals who are registered with the Illumination Engineering Society of Australia and New Zealand |  |  |
| Other: |  |  |
| 9. Negotiate a contract Determine your preferred type of contract: |  |  |
| - Service contract: the supplier performs certain actions for a fixed price ($). |  |  |
| - Energy performance contract: the supplier performs certain actions that meet certain levels of energy reduction (kWh) for a lower upfront price ($) and a share of the cost savings ($/y). |  |  |